## Oversikt
Paragraf | AGA | API | ASME | ASTM | IEC | ISO | JCGM | NORSOK | OIML
3 |  | API MPMS 1 |  |  | IEC 60050 | ISO 4006 | JCGM 200
3 | [5 empty] | ISO 7504
5 | [5 empty] | ISO 9001
5 | [5 empty] | ISO 10012
5 | [5 empty] | ISO 31000
6 | [5 empty] | ISO 19011
7 |  | API MPMS 15 |  |  |  | ISO 80000-1
8 | [5 empty] | ISO 91
8 | [5 empty] | ISO 13443
14 | [5 empty] | ISO/IEC Guide 98-1 | JCGM 100
14 | [5 empty] | ISO/IEC Guide 98-4 | JCGM 104
14 | [5 empty] | ISO/IEC Guide 98-6 | JCGM GUM-6
15 |  | API MPMS 13.3 |  |  |  | ISO/IEC Guide 98-1 | JCGM 100
15 |  | API TR 2579 |  |  |  | ISO/IEC Guide 98-4 | JCGM 104
15 | [5 empty] | ISO/IEC Guide 98-6 | JCGM GUM-6
15 | [5 empty] | ISO 5168
21 |  |  |  | ASTM D1945 - 14 |  | ISO 6974-1 |  | NORSOK I-106
21 |  | API MPMS 10.9 |  | ASTM D4928 – 12 |  | ISO 10337
21 |  |  |  | ASTM D5002 - 19 |  | ISO 12185
21 | [5 empty] | ISO 15212
21 |  |  |  | ASTM D5842-19
21 |  |  |  | ASTM D5854-19a
21 | [5 empty] | ISO/IEC 17025
22 | [5 empty] | ISO 9001
22 |  | API MPMS 20.1 |  |  |  | ISO/TR 26762
27 | [7 empty] | NORSOK I-106
29 |  | API MPMS 13.3 |  |  |  | ISO/IEC Guide 98-1 | JCGM 100
29 |  | API TR 2579 |  |  |  | ISO/IEC Guide 98-4 | JCGM 104
29 |  | API MPMS 14.10 |  |  |  | ISO/IEC Guide 98-6 | JCGM GUM-6
29 | [5 empty] | ISO 5168
32 |  |  | ASME PTC 19.3 TW |  | IEC 60751 |  |  | NORSOK I-001
35 |  | API MPMS 5.5 |  |  |  | ISO 6551
36 |  | API MPMS 21.1 | [5 empty] | NORSOK I-106 | OIML R117-1
36 |  | API MPMS 21.2
37 |  | API MPMS 5.1 | [5 empty] | NORSOK I-106 | OIML R117-1
37 |  | API MPMS 6.1A
37 |  | API MPMS 6.3A
38 |  | API MPMS 4.1 |  |  |  | ISO 7278-1
38 |  | API MPMS 4.5
39 |  | API MPMS 5.1 |  |  |  | ISO 11631 |  |  | OIML R117-1
39 |  | API MPMS 5.3 |  |  |  | ISO 2715
39 |  | API MPMS 5.6 |  |  |  | ISO 10790
39 |  | API MPMS 5.8 |  |  |  | ISO 12242
40 |  | API MPMS 4.2 |  |  |  | ISO 7278-2 |  |  | OIML D 36
41 |  | API MPMS 4.5
42 |  | API MPMS 7 | [6 empty] | OIML R117-1
42 |  | API MPMS 7.4
43 |  | API MPMS 8.1 |  |  |  | ISO 3170
43 |  | API MPMS 8.2 |  |  |  | ISO 3171
43 |  | API MPMS 8.4
44 |  | API MPMS 11.1 |  |  |  | ISO 91 |  |  | OIML D 35
44 |  | API MPMS 11.2.2M
44 |  | API MPMS 11.5
44 |  | API MPMS 12.2
44 |  | API MPMS 12.2.1
44 |  | API MPMS 12.2.3
44 |  | API MPMS 12.2.4
44 |  | API MPMS 12.2.5
44 |  | API MPMS 13.2
45 | [5 empty] | ISO 15112 |  | NORSOK I-106 | OIML R137-1&2
47 | AGA Report 7 |  |  |  |  | ISO 11631
47 | AGA Report 9 |  |  |  |  | ISO 5187-1
47 | AGA Report 11 |  |  |  |  | ISO 5167-2
47 | [5 empty] | ISO 5167-5
47 | [5 empty] | ISO 9951
47 | [5 empty] | ISO 10790
47 | [5 empty] | ISO 17089-1
47 | [5 empty] | ISO 17089-2
48 | [5 empty] | ISO 15970
49 |  |  |  | ASTM D1945 - 14 |  | ISO 6974-1 |  | NORSOK I-106
49 | [5 empty] | ISO 6974-2
49 | [5 empty] | ISO 6974-3
49 | [5 empty] | ISO 6974-4
49 | [5 empty] | ISO 6974-5
49 | [5 empty] | ISO 6974-6
49 | [5 empty] | ISO/TR 14749
50 | [5 empty] | ISO 10715
51 | AGA 8 Part 1 |  |  |  |  | ISO 6976
51 | AGA 8 Part 2 |  |  |  |  | ISO/TR 29922
51 | [5 empty] | ISO 12213-1
51 | [5 empty] | ISO 12213-2
51 | [5 empty] | ISO 12213-3
52 |  | API MPMS 20.3 |  |  |  | ISO/TC 21354
53 |  | API MPMS 20.3 |  |  |  | ISO/TC 21354
54 |  | API MPMS 20.3 |  |  |  | ISO/TC 21354
56 |  | API MPMS 20.1 |  |  |  | ISO/TC 21354
58 | [5 empty] | ISO 10976
58 | [5 empty] | ISO 8310
59 | [5 empty] | ISO 8943
61 | [5 empty] | ISO 6578
66 | [5 empty] | ISO/IEC 17025
66 | [5 empty] | ISO 9001
68 | [5 empty] | ISO 5168 | JCGM 106 |  | OIML R137-1&2
68 | [8 empty] | OIML G 19
69 |  | API MPMS 5.3 |  |  |  | ISO 2715 |  |  | OIML R117-2
|  | API MPMS 5.6 |  |  |  | ISO 10790
|  | API MPMS 5.8 |  |  |  | ISO 12242
69 | AGA Report 7 |  |  |  |  | ISO 9951 |  |  | OIML R137-1&2
69 | AGA Report 9 |  |  |  |  | ISO 10790
69 | AGA Report 11 |  |  |  |  | ISO 17089-1
69 | [5 empty] | ISO 17089-2
70 |  | API MPMS 4.9.1 |  |  |  | ISO 7278-2
70 |  | API MPMS 4.9.2
70 |  | API MPMS 4.9.3
70 |  | API MPMS 4.9.4
71 |  | API MPMS 4.5
73 |  | API MPMS 7.4 |  |  |  | ISO 15970
73 |  | API MPMS 9.4
74 |  |  |  | ASTM D1945 - 14 |  | ISO 10723 |  | NORSOK I-106
75 | [5 empty] | ISO 3170
75 | [5 empty] | ISO 3171
77 |  | API MPMS 21.1 | [5 empty] | NORSOK I-106
77 |  | API MPMS 21.2
78 | [7 empty] | NORSOK I-106
83 | [5 empty] | ISO 5168 | JCGM 106 |  | OIML R137-1&2
84 |  | API MPMS 13.2
85 |  | API MPMS 4.8
89 |  |  |  | ASTM D1945 - 14 |  | ISO/TR 14749 |  | NORSOK I-106
Note on A2: § 3. Termer og definisjoner
Note on A3: § 3. Termer og definisjoner
Note on A4: § 5. Styringssystem
Note on A5: § 5. Styringssystem
Note on A6: § 5. Styringssystem
Note on A7: § 6. Internrevisjon
Note on A8: § 7. Måleenheter
Note on A9: § 8. Referansebetingelser
Note on A10: Referansebetingelser
Note on A11: § 14. Målemodell
Note on A12: § 14. Målemodell
Note on A13: § 14. Målemodell
Note on A14: § 15. Usikkerhetsbudsjett
Note on A15: § 15. Usikkerhetsbudsjett
Note on A16: § 15. Usikkerhetsbudsjett
Note on A17: § 15. Usikkerhetsbudsjett
Note on A18: § 21. Krav til analysemetoder
Note on A19: § 21. Krav til analysemetoder
Note on A20: § 21. Krav til analysemetoder
Note on A21: § 21. Krav til analysemetoder
Note on A22: § 21. Krav til analysemetoder
Note on A23: § 21. Krav til analysemetoder
Note on A24: § 21. Krav til laboratorier
Note on A25: § 22. Krav til laboratorier
Note on A26: § 22. Krav til laboratorier
Note on A27: § 27. Målesystemets utførelse
Note on A28: § 29. Instrumentell måleusikkerhet
Note on A29: § 29. Instrumentell måleusikkerhet
Note on A30: § 29. Instrumentell måleusikkerhet
Note on A31: § 29. Instrumentell måleusikkerhet
Note on A32: § 32. Måling av temperatur og trykk
Note on A33: § 35. Elektronikk
Note on A34: § 36. Datasystem
Note on A35: § 36. Datasystem
Note on A36: § 37. Oljemålesystemets bestanddeler
Note on A37: § 37. Oljemålesystemets bestanddeler
Note on A38: § 37. Oljemålesystemets bestanddeler
Note on A39: § 38. Kalibreringsmetoder for oljemålere
Note on A40: § 38. Kalibreringsmetoder for oljemålere
Note on A41: § 39. Oljemåler
Note on A42: § 39. Oljemåler
Note on A43: § 39. Oljemåler
Note on A44: § 39. Oljemåler
Note on A45: § 40. Rørnormal
Note on A46: § 41. Mastermålerprover
Note on A47: § 42. Tilknyttede måleinstrumenter
Note on A48: § 42. Tilknyttede måleinstrumenter
Note on A49: § 43. Prøvetakingsutstyr
Note on A50: § 43. Prøvetakingsutstyr
Note on A51: § 43. Prøvetakingsutstyr
Note on A52: § 44. Algoritmer og ligninger
Note on A53: § 44. Algoritmer og ligninger
Note on A54: § 44. Algoritmer og ligninger
Note on A55: § 44. Algoritmer og ligninger
Note on A56: § 44. Algoritmer og ligninger
Note on A57: § 44. Algoritmer og ligninger
Note on A58: § 44. Algoritmer og ligninger
Note on A59: § 44. Algoritmer og ligninger
Note on A60: § 44. Algoritmer og ligninger
Note on A61: § 45. Gassmålesystemets bestanddeler
Note on A62: § 47. Gassmåler
Note on A63: § 47. Gassmåler
Note on A64: § 47. Gassmåler
Note on A65: § 47. Gassmåler
Note on A66: § 47. Gassmåler
Note on A67: § 47. Gassmåler
Note on A68: § 47. Gassmåler
Note on A69: § 47. Gassmåler
Note on A70: § 48. Tilknyttede måleinstrumenter
Note on A71: § 49. Direktekoplet gasskromatograf
Note on A72: § 49. Direktekoplet gasskromatograf
Note on A73: § 49. Direktekoplet gasskromatograf
Note on A74: § 49. Direktekoplet gasskromatograf
Note on A75: § 49. Direktekoplet gasskromatograf
Note on A76: § 49. Direktekoplet gasskromatograf
Note on A77: § 49. Direktekoplet gasskromatograf
Note on A78: § 50. Prøvetakingsutstyr
Note on A79: § 51. Algoritmer og ligninger
Note on A80: § 51. Algoritmer og ligninger
Note on A81: § 51. Algoritmer og ligninger
Note on A82: § 51. Algoritmer og ligninger
Note on A83: § 51. Algoritmer og ligninger
Note on A84: § 52. Flerfasemålesystemets bestanddeler
Note on A85: § 53. Kalibreringsmetoder for flerfasemålere
Note on A86: § 54. Flerfasemåler
Note on A87: § 56. Algoritmer og ligninger
Note on A88: § 58. Statisk måling av volum og masse
Note on A89: § 58. Statisk måling av volum og masse
Note on A90: § 59. Prøvetakingsutstyr
Note on A91: § 61. Densitet og brennverdi
Note on A92: § 66. Bruk av laboratorier til kalibrering
Note on A93: § 66. Bruk av laboratorier til kalibrering
Note on A94: § 68. Evaluering av målefeil
Note on A95: § 68. Evaluering av målefeil
Note on A96: § 69. Strømningskalibrering av olje- og gassmålere
Note on A99: § 69. Strømningskalibrering av olje- og gassmålere
Note on A100: § 69. Strømningskalibrering av olje- og gassmålere
Note on A101: § 69. Strømningskalibrering av olje- og gassmålere
Note on A102: § 69. Strømningskalibrering av olje- og gassmålere
Note on A103: § 70. Kalibrering av rørnormal
Note on A104: § 70. Kalibrering av rørnormal
Note on A105: § 70. Kalibrering av rørnormal
Note on A106: § 70. Kalibrering av rørnormal
Note on A107: § 71. Strømningskalibrering av mastermålere
Note on A108: § 73. Kalibrering og verifisering av tilknyttede måleinstrumenter
Note on A109: § 73. Kalibrering og verifisering av tilknyttede måleinstrumenter
Note on A110: § 74. Verifisering av gasskromatografer
Note on A111: § 75. Verifisering av prøvetakingsutstyr
Note on A112: § 75. Verifisering av prøvetakingsutstyr
Note on A113: § 77. Verifikasjon av datasystem
Note on A114: § 77. Verifikasjon av datasystem
Note on A115: § 78. Testing av sammenstilt målesystem
Note on A116: § 83. Evaluering av målefeil
Note on A117: § 84. Drift og vedlikehold av oljemåler
Note on A118: § 85. Drift og vedlikehold av prover
Note on A119: § 89. Drift og vedlikehold av direktekoblede gasskromatografer

## AGA
Referanse | Tittel | Utgave | Note
AGA Report 7 | Measurement of Natural Gas by Turbine Meters | Revised February 2006
AGA 8 Part 1 | Thermodynamic Properties of Natural Gas and Related Gases DETAIL and GROSS Equations of State | Third Edition, 2017 (A revision of AGA report No. 8, 2nd edition 1994)
AGA 8 Part 2 | Thermodynamic Properties of Natural Gas and Related Gases GERG–2008 Equation of State | First Edition 1, 2017
AGA Report 9 | Measurement of Gas by Multipath Ultrasonic Meters | Fourth Edition, 2022
AGA Report 11 | Measurement of Natural Gas by Coriolis Meter | Second Edition, 2013

## API
Referanse | Tittel | Utgave | Note
API MPMS 1 | Vocabulary | Second edition, July 1994
API MPMS 4.1 | Proving Systems. Section 1—Introduction | Third edition, February 2005 | Reaffirmed, June 2014
API MPMS 4.2 | Proving Systems. Section 2—Displacement Provers | Third edition, September 2003 | Reaffirmed, March 2011. Addendum, February 2015
API MPMS 4.5 | Master Meter Provers | Fourth edition, June 2016
API MPMS 4.6 | Proving Systems. Section 6—Pulse Interpolation | Third edition, October 2021
API MPMS 4.7 | Proving Systems. Section 7—Field Standard Test Measures | Third edition, April 2009 | Reaffirmed, June 2014
API MPMS 4.8 | Operation of Proving Systems | Third edition, July 2021
API MPMS 4.9.1 | Proving Systems. Section 9—Methods of Calibration for Displacement and Volumetric Tank Provers. Part 1—Introduction to the Determination of the Volume of Displacement and Tank Provers | First edition, October 2005 | Reaffirmed, July 2015
API MPMS 4.9.2 | Proving Systems. Section 9—Methods of Calibration for Displacement and Volumetric Tank Provers. Part 2—Determination of the Volume of Displacement and Tank Provers by the Waterdraw Method of Calibration | First edition, December 2005 | Reaffirmed, July 2015
API MPMS 4.9.3 | Proving Systems. Section 9—Methods of Calibration for Displacement and Volumetric Tank Provers. Part 3—Determination of the Volume of Displacement Provers by the Master Meter Method of Calibration | First edition, April 2010 | Reaffirmation, March 2015
API MPMS 4.9.4 | Proving Systems. Section 9—Methods of Calibration for Displacement and Volumetric Tank Provers. Part 4—Determination of the Volume of Displacement and Tank Provers by the Gravimetric Method of Calibration | First edition, October 2010. Errata 1, August 2016 | Reaffirmed, September 2021
API MPMS 5.1 | Metering. Section 1—General Considerations for Measurement by Meters | Fourth edition, September 2005. Errata 1, June 12, 2008 errata 2, June 27, 2011 | Reaffirmed, July 2016
API MPMS 5.2 | Metering. Section 2—Measurement of Liquid Hydrocarbons by Displacement Meters | Third edition, September 2005 | Reaffirmed, December 2020
API MPMS 5.3 | Metering. Section 3—Measurement of Liquid Hydrocarbons by Turbine Meters | Fifth edition, September 2005 | Reaffirmed: august 1, 2014
API MPMS 5.4 | Metering. Section 4—Accessory Equipment for Liquid Meters | Fourth edition, September 2005. Errata, May 2015 | Reaffirmed, August 2015
API MPMS 5.5 | Metering. Section 5—Fidelity and Security of Flow Measurement Pulsed-data Transmission Systems | Second edition, August 2005 | Reaffirmed, August 2015
API MPMS 5.6 | Metering. Section 6—Measurement of Liquid Hydrocarbons by Coriolis Meters | Second edition, December 2021
API MPMS 5.8 | Measurement of Liquid Hydrocarbons by Ultrasonic Flow Meters | Second edition, November 2011. Errata, February 2014 | Reaffirmed, May 2017
API MPMS 6.1A | Metering Assemblies—General Considerations | First edition, July 2021
API MPMS 6.3A | Metering Assemblies—Pipeline and Marine Loading/Unloading Measurement Systems | First edition, July 2021
API MPMS 7 | Temperature Determination | First edition, June 2001 | Reaffirmed, February 2012
API MPMS 7.4 | Temperature Determination. Section 4—Dynamic Temperature Measurement | Second edition, January 2018
API MPMS 8.1 | Standard Practice for Manual Sampling of Petroleum and Petroleum Products | Fifth edition, September 2019
API MPMS 8.2 | Standard Practice for Automatic Sampling of Petroleum and Petroleum Products | Fifth edition, November 2020
API MPMS 8.3 | Standard Practice for Mixing and Handling of Liquid Samples of Petroleum and Petroleum Products | Second edition, September 2019
API MPMS 8.4 | Standard Practice for Sampling and Handling of Fuels for Volatility Measurements | Fifth edition, May 2020
API MPMS 8.5 | Standard Practice for Mixing and Handling of Liquid Samples of Petroleum and Petroleum Products | Second edition, September 2019
API MPMS 8.6 | Refrigerated Light Hydrocarbon Fluids—Sampling of Liquified Natural Gas—Continuous and Intermittent Methods (ISO 8943) | First edition, May 2020
API MPMS 9.4 | Continuous Density Measurement Under Dynamic (Flowing) Conditions | First edition, January 2018
API MPMS 10.4 | Determination of Water and/or Sediment in Crude Oil by the Centrifuge Method (Field Procedure) | Fourth edition, October 2013. Errata, March 2015
API MPMS 10.9 | Standard Test Method for Water in Crude Oils by Coulometric Karl Fischer Titration | Third edition, May 2013 | Reaffirmed in 2018
API MPMS 11.1 | Physical Properties Data. Section 1—Temperature and Pressure Volume Correction Factors for Generalized Crude Oils, Refined Products, and Lubricating Oils. Adjunct to ASTM D 1250-04 and IP 200/04 | May 2004. Addendum 1, September 2007. Addendum 2, May 2019
API MPMS 11.2.2M | Compressibility Factors for Hydrocarbons: 350–637 Kilograms per Cubic Metre Density (15°C) and –46°C to 60°C Metering Temperature. GPA 8286-86 (M) | First edition, October 1986 | Reaffirmed, September 2017
API MPMS 11.5 | Physical Properties Data. Section 5—Density/Weight/Volume. Intraconversion Part 3—Conversions for Absolute Density at 15 °C. Adjunct to ASTM D1250-08 and IP 200/08 | First edition, March 2009 | Reaffirmed, March 2020
API MPMS 12.2 | Manual of Petroleum Measurement Standards Chapter 12.2 - Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors | Second edition, July 2021
API MPMS 12.2.1 | Calculation of Petroleum Quantities. Section 2—Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors. Part 1—Introduction | Second edition, May 1995 | Reaffirmed, March 2014
API MPMS 12.2.3 | Calculation of Petroleum Quantities. Section 2—Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors. Part 3—Proving Report | First edition, October 1998 | Reaffirmed, May 2014
API MPMS 12.2.4 | Calculation of Petroleum Quantities. Section 2—Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors. Part 4—Calculation of Base Prover Volumes by the Waterdraw Method | First edition, December 1997 | Reaffirmed, September 2014
API MPMS 12.2.5 | Calculation of Petroleum Quantities. Section 2—Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors. Part 5—Calculation of Base Prover Volume by Master Meter Method | First edition, September 2001. Errata, July 2009 | Reaffirmed, August 2016
API MPMS 13.2 | Statistical Aspects of Measuring and Sampling. Section 2—Methods of Evaluating Meter Proving Data | Second edition, April 2018
API MPMS 13.3 | Measurement uncertainty | Second edition, December 2017
API MPMS 14.1 | Natural Gas Fluids Measurement. Section 1—Collecting and Handling of Natural Gas Samples for Custody Transfer | Seventh edition, May 2016. Addendum, August 2017. Errata, August 2017
API MPMS 14.7 | Natural Gas Fluids Measurement. Section 7—Mass Measurement of Natural Gas Liquids and Other Hydrocarbons | Fifth edition, February 2018
API MPMS 14.8 | Natural Gas Fluids Measurement. Section 8— Liquefied Petroleum Gas Measurement | Second edition, July 1997 | Reaffirmed, October 2011
API MPMS 14.10 | Natural Gas Fluids Measurement—Measurement of Flow to Flares | Second edition, December 2021
API MPMS 15 | Guidelines for the Use of Petroleum Industryspecific International System (SI) Units | Fourth edition, June 2019
API MPMS 20.1 | Allocation Measurement. Section 1-Allocation Measurement | First Edition; ADDENDUM 1: January 2013; ADDENDUM 2: November 2016; ADDENDUM 3: December 2017
API MPMS 20.2 | Production Allocation Measurement Using Single-phase Devices | First edition, November 2016
API MPMS 20.3 | Measurement of Multiphase Flow | First Edition, 2013 | Reaffirmed 2018
API MPMS 21.1 | Flow Measurement Using Electronic Metering Systems—Electronic Gas Measurement. ANSI/API MPMS Ch. Chapter 21.1 | Second edition, February 2013. (AGA report no. 13)
API MPMS 21.2 | Flow Measurement Using Electronic Metering Systems. Section 2—Electronic Liquid Volume Measurement Using Positive Displacement and Turbine Meters | First edition, June 1998 | Reaffirmed, October 2016
API TR 2578 | Flow Conditioner Installation and Effects on Turbine Meters | First edition, 2017
API TR 2579 | Liquid Hydrocarbon Measurement Uncertainty Calculations | First edition, 2020

## ASME
Referanse | Tittel | Utgave | Note
ASME PTC 19.3 TW | Thermowells. Performance Test Codes | Current edition approved 2016

## ASTM
Referanse | Tittel | Utgave | Note
ASTM D1945 - 14 | Standard Test Method for Analysis of Natural Gas by Gas Chromatography | Current edition approved 2019
ASTM D4928 – 12 | Standard Test Method for Water in Crude Oils by Coulometric Karl Fischer Titration | Current edition approved 2018
ASTM D5002 - 19 | Standard Test Method for Density, Relative Density, and API Gravity of Crude Oils by Digital Density Analyzer | Current edition approved 2019
ASTM D5842-19 | Standard Practice for Sampling and Handling of Fuels for Volatility Measurement | Current edition approved 2019
ASTM D5854-19a | Standard Practice for Mixing and Handling of Liquid Samples of Petroleum and Petroleum Products | Current edition approved 2019

## IEC
Referanse | Tittel | Utgave | Note
IEC 60751 | Industrial platinum resistance thermometers and platinum temperature sensors | Edition 3, 2022
IEC 60050 | International Electrotechnical Vocabulary (IEV) - Part 300: Electrical and electronic measurements and measuring instruments | Edition 1, 2001

## ISO
Referanse | Tittel | Utgave | Note
ISO 91 | Petroleum and related products — Temperature and pressure volume correction factors (petroleum measurement tables) and standard reference conditions | Edition 1, 2017
ISO 2186 | Fluid flow in closed conduits — Connections for pressure signal transmissions between primary and secondary elements | Edition 2, 2007 | Reviewed and confirmed in 2020
ISO 2714 | Liquid hydrocarbons — Volumetric measurement by displacement meter | Edition2, 2017
ISO 2715 | Liquid hydrocarbons — Volumetric measurement by turbine flowmeter | Edition 2, 2017
ISO 3170 | Petroleum liquids — Manual sampling | Edition 3, 2004 | Edition 4 under development
ISO 3171 | Petroleum liquids — Automatic pipeline sampling | Edition 2, 1988 | Edition 3 under development
ISO 4006 | Measurement of fluid flow in closed conduits — Vocabulary and symbols | Edition 2, 1991 | Reviewed and confirmed in 2019
ISO 4124 | Liquid hydrocarbons — Dynamic measurement — Statistical control of volumetric metering systems | Edition 1, 1994 | Reviewed and confirmed in 2021
ISO 4267-2 | Petroleum and liquid petroleum products — Calculation of oil quantities — Part 2: Dynamic measurement | Edition1, 1988 | Reviewed and confirmed in 2017
ISO 5167-1 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 1: General principles and requirements | Edition 2, 2003 | Reviewed and confirmed in 2014. Edition 3 under development
ISO 5167-2 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 2: Orifice plates | Edition 1, 2003 | Reviewed and confirmed in 2014. Edition 2 under development
ISO 5167-3 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 3: Nozzles and Venturi nozzles | Edition 2, 2020
ISO 5167-4 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 4: Venturi tubes | Edition 1, 2003 | Reviewed and confirmed in 2014. Edition 2 under development
ISO 5167-5 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 5: Cone meters | Edition 1, 2016 | Edition 2 under development
ISO 5168 | Measurement of fluid flow — Procedures for the evaluation of uncertainties | Edition 2, 2005 | Reviewed and confirmed in 2020
ISO 6551 | Petroleum liquids and gases — Fidelity and security of dynamic measurement — Cabled transmission of electric and/or electronic pulsed data | Edition 1 1982.
ISO 6578 | Refrigerated hydrocarbon liquids – Static measurement – Calculation procedure | Edition 2, 2017
ISO 6974-1 | Natural gas — Determination of composition and associated uncertainty by gas chromatography — Part 1: General guidelines and calculation of composition | Edition 2, 2012 | Reviewed and confirmed in 2018
ISO 6974-2 | Natural gas — Determination of composition and associated uncertainty by gas chromatography — Part 2: Uncertainty calculations | Edition 2, 2012 | Reviewed and confirmed in 2018
ISO 6974-3 | Natural gas — Determination of composition and associated uncertainty by gas chromatography — Part 3: Precision and bias | Edition 2, 2018
ISO 6974-4 | Natural gas — Determination of composition with defined uncertainty by gas chromatography — Part 4: Determination of nitrogen, carbon dioxide and C1 to C5 and C6+ hydrocarbons for a laboratory and on-line measuring system using two columns | Edition 1, 2000 | Reviewed and confirmed in 2019
ISO 6974-5 | Natural gas — Determination of composition and associated uncertainty by gas chromatography — Part 5: Isothermal method for nitrogen, carbon dioxide, C1 to C5 hydrocarbons and C6+ hydrocarbons | Edition 2, 2014 | Reviewed and confirmed in 2019
ISO 6974-6 | Natural gas — Determination of composition with defined uncertainty by gas chromatography — Part 6: Determination of hydrogen, helium, oxygen, nitrogen, carbon dioxide and C1 to C8 hydrocarbons using three capillary columns | Edition 1, 2002 | Reviewed and confirmed in 2019
ISO 6976 | Natural gas — Calculation of calorific values, density, relative density and Wobbe indices from composition | Edition 3, 2016
ISO 6578 | Refrigerated hydrocarbon liquids – Static measurement – Calculation procedure | Edition 2, 2017
ISO 7278-1 | Liquid hydrocarbons — Dynamic measurement — Proving systems for volumetric meters — Part 1: General principles | Edition 1, 1987 | Reviewed and confirmed in 2021
ISO 7278-2 | Liquid hydrocarbons — Dynamic measurement — Proving systems for volumetric meters — Part 1: Pipe provers | Edition 1, 1988 | Edition 2 under development
ISO 7278-3 | Liquid hydrocarbons — Dynamic measurement — Proving systems for volumetric meters — Part 3: Pulse interpolation techniques | Edition 2, 1998 | Reviewed and confirmed in 2021
ISO 7278-4 | Liquid hydrocarbons — Dynamic measurement — Proving systems for volumetric meters — Part 4: Guide for operators of pipe provers | Edition 1, 1999 | Reviewed and confirmed in 2019
ISO 7504 | Gas analysis — Vocabulary | Edition 3, 2015 | Reviewed and confirmed in 2021
ISO 8310 | Refrigerated hydrocarbon and non-petroleum based liquefied gaseous fuels — General requirements for automatic tank thermometers on board marine carriers and floating storage | Edition 2, 2012 | Reviewed and confirmed in 2018
ISO 8943 | Refrigerated light hydrocarbon fluids — Sampling of liquefied natural gas — Continuous and intermittent methods | Edition 2, 2007
ISO 9001 | Quality management systems — Requirements | Edition 5, 2015 | Reviewed and confirmed in 2021
ISO 9029 | Crude petroleum — Determination of water — Distillation method | Edition 1, 1990 | Reviewed and confirmed in 2019
ISO 9030 | Crude petroleum — Determination of water and sediment — Centrifuge method | Edition 1, 1990 | Reviewed and confirmed in 2019
ISO/TR 9464 | Guidelines for the use of ISO 5167:2003 | Edition 2, 2008 | Reviewed and confirmed in 2019
ISO 9951 | Measurement of gas flow in closed conduits — Turbine meters | Edition 1, 1993 | Reviewed and confirmed in 2021
ISO 10012 | Measurement management systems — Requirements for measurement processes and measuring equipment | Edition1, 2003
ISO 10337 | Crude petroleum — Determination of water — Coulometric Karl Fischer titration method | Edition 1, 1997 | Reviewed and confirmed in 2019
ISO 10715 | Natural gas — Sampling guidelines | Edition 1, 1997 | Reviewed and confirmed in 2013. Edition 2 under development
ISO 10723 | Natural gas — Performance evaluation for analytical systems | Edition 2, 2012
ISO 10790 | Measurement of fluid flow in closed conduits — Guidance to the selection, installation and use of Coriolis flowmeters (mass flow, density and volume flow measurements) | Edition 3, 2015 | Reviewed and confirmed in 2020
ISO 10976 | Refrigerated light hydrocarbon fluids – Measurements of cargoes on board LNG carriers | Edition 2, 2015.
ISO/TR 11583 | Measurement of wet gas flow by means of pressure differential devices inserted in circular cross-section conduits | Edition 1, 2012 | Reviewed and confirmed in 2019
ISO 11631 | Measurement of fluid flow — Methods of specifying flowmeter performance | Edition 1, 1998 | Reviewed and confirmed in 2020
ISO 12185 | Crude petroleum and petroleum products — Determination of density — Oscillating U-tube method — Technical Corrigendum 1 | Edition 1 (Cor 1), 2001
ISO 12213-1 | Natural gas — Calculation of compression factor — Part 1: Introduction and guidelines | Edition 2, 2006 | Reviewed and confirmed in 2020
ISO 12213-2 | Natural gas — Calculation of compression factor — Part 2: Calculation using molar-composition analysis | Edition 2, 2006 | Reviewed and confirmed in 2020
ISO 12213-3 | Natural gas — Calculation of compression factor — Part 3: Calculation using physical properties | Edition 2, 2006 | Reviewed and confirmed in 2021
ISO 12242 | Measurement of fluid flow in closed conduits — Ultrasonic transit-time meters for liquid | Edition 1 2012 | Reviewed and confirmed in 2020
ISO/TR 12748 | Natural Gas — Wet gas flow measurement in natural gas operations | Edition 1, 2015
ISO/TR 12767 | Measurement of fluid flow by means of pressure differential devices — Guidelines on the effect of departure from the specifications and operating conditions given in ISO 5167 | Edition 2, 2007 | Reviewed and confirmed in 2019
ISO 13443 | Natural gas — Standard reference conditions | Edition 1, 1996 | Reviewed and confirmed in 2020
ISO/TR 14749 | Natural gas — Online gas chromatograph for upstream area | Edition 1, 2016
ISO 15112 | Natural gas — Energy determination | Edition 3, 2018
ISO/TR 15377 | Measurement of fluid flow by means of pressure-differential devices — Guidelines for the specification of orifice plates, nozzles and Venturi tubes beyond the scope of ISO 5167 | Edition 3, 2018
ISO 15970 | Natural gas — Measurement of properties — Volumetric properties: density, pressure, temperature and compression factor | Edition 1, 2008 | Reviewed and confirmed in 2017
ISO 15971 | Natural gas — Measurement of properties — Calorific value and Wobbe index | Edition1, 2008 | Reviewed and confirmed in 2020
ISO/IEC 17025 | General requirements for the competence of testing and calibration laboratories | edition 3, 2017. Corrected version 2018.
ISO 17089-1 | Measurement of fluid flow in closed conduits — Ultrasonic meters for gas — Part 1: Meters for custody transfer and allocation measurement | Edition 2, 2019
ISO 17089-2 | Measurement of fluid flow in closed conduits - Ultrasonic meters for gas — Part 2: Meters for industrial applications | Edition 1, 2012 | Reviewed and confirmed in 2020
ISO 19011 | Guidelines for auditing management systems | Edition 3, 2018
ISO 20765-1 | Natural gas — Calculation of thermodynamic properties — Part 1: Gas phase properties for transmission and distribution applications | Edition 1, 2005 | Reviewed and confirmed in 2021
ISO 20765-2 | Natural gas — Calculation of thermodynamic properties — Part 2: Single-phase properties (gas, liquid, and dense fluid) for extended ranges of application | Edition 1, 2015 | Reviewed and confirmed in 2020
ISO/TC 21354 | Measurement of multiphase fluid flow | Edition 1, 2020
ISO 21903 | Refrigerated hydrocarbon fluids — Dynamic measurement — Requirements and guidelines for the calibration and installation of flowmeters used for liquefied natural gas (LNG) and other refrigerated hydrocarbon fluids | Edition 1, 2020
ISO/TR 26762 | Natural gas — Upstream area — Allocation of gas and condensate | Edition 1, 2008 | Reviewed and confirmed in 2017. Edition 2 under development
ISO/TR 29922 | Natural gas — Supporting information on the calculation of physical properties according to ISO 6976 | Edition 1, 2017
ISO 31000 | Risk management — Guidelines | Edition 2, 2018
ISO 80000-1 | Quantities and units — Part 1: General | Edition 1, 2009
ISO Guide 73 | Risk management — Vocabulary | Edition 1, 2009
ISO/IEC Guide 98-1 | Uncertainty of measurement — Part 1: Introduction to the expression of uncertainty in measurement | Edition 1, 2009 | Edition 2 under development
ISO/IEC Guide 98-3 | Uncertainty of measurement — Part 3: Guide to the expression of uncertainty in measurement (GUM:1995) | Edition 1, 2008. Corrected version 2010 Supplement 1:2008/Cor 1:2009
ISO/IEC Guide 98-4 | Uncertainty of measurement — Part 4: Role of measurement uncertainty in conformity assessment | edition 1, 2012 | Reviewed and confirmed in 2021
ISO/IEC Guide 98-6 | Uncertainty of measurement — Part 6: Developing and using measurement models | Edition 1, 2021

## JCGM
Referanse | Tittel | Utgave | Note
JCGM 100 | Evaluation of measurement data — Guide to the expression of uncertainty in measurement (GUM 1995 with minor corrections) | Edition 1, 2008
JCGM 104 | Evaluation of measurement data — An introduction to the “Guide to the expression of uncertainty in measurement” and related documents | Edition 1, 2009
JCGM 106 | Evaluation of measurement data – The role of measurement uncertainty in conformity assessment | Edition 2012
JCGM GUM-6 | Guide to the expression of uncertainty in measurement — Part 6: Developing and using measurement models | Edition 1, 2020
JCGM 200 | International vocabulary of metrology – Basic and general concepts and associated terms (VIM) | Edition 3, 2012

## NORSOK
Referanse | Tittel | Utgave | Note
NORSOK I-001 | Field instrumentation | Edition 5, March 2019
NORSOK I-106 | Fiscal metering systems for hydrocarbon liquid and gas | Edition 1, November 2014 | Edition 2 under development

## OIML
Referanse | Tittel | Utgave | Status
OIML R117-1 | Dynamic measuring systems for liquids other than water. Part 1: Metrological and technical requirements | Edition 2019
OIML R117-2 | Dynamic measuring systems for liquids other than water. Part 2: Metrological controls and performance tests | Edition 2019
OIML R117-3 | Dynamic measuring systems for liquids other than water. Part 3: Test report format | Edition 2019
OIML R137-1&2 | Gas meters. Part 1: Metrological and technical requirements. Part 2: Metrological controls and performance tests | Edition 2012. Including Amendment 2014
OIML R137-3 | Gas meters. Part 3: Test report format | Edition 2014
OIML D 2 | Quantities and units — Part 1: General | Edition 2007
OIML D 11 | General requirements for measuring instruments - Environmental conditions | Edition 2013
OIML D 10 | Guidelines for the determination of calibration intervals of measuring instruments | Edition 2007
OIML D 35 | Petroleum measurement tables | Edition 2020
OIML G 19 | The role of measurement uncertainty in conformity assessment decisions in legal metrology | Edition 2017
OIML D 35 | Petroleum measurement tables | Edition 2020
OIML D 36 | Pipe provers for verification and calibration of measuring systems for liquids | Edition 2020